## Dataframe_ScopingReview
ID | Author | Title | Year | Pop_size | Different Population Flag | Unique System Flag | Population Age | Diagnosis | Acquisition System | General Condition Filtering | Processing Software | Online Experiments | Offline Experiments | Diversity of Input | Diversity of Input (Signature) | Mental Strategy | Brain Signal | Stimulus Modality | Role of Operation | Mode of Operation | Calibration Type | Idle State Included | Pay | Specialized Room | Processed Differently per Input | Processed Differently per Acq. System | In1 | In1_num_targets | In1_samp_len | In1_filtering | In1_feat_extr | In1_classif | In1_off_classif | In1_on_class | In2 | In2_num_targets | In2_samp_len | In2_filtering | In2_feat_extr | In2_classif | In2_off_classif | In2_on_class | Actuation Type | Number of Targets | Number of Steps | Control | Final Accuracy [%] | ITR [b/min] | Qualitative Measurements | Comments
37 | Ahn et al. | Achieving a hybrid brain–computer interface with tactile selective attention and motor imagery | 2014 | 16 | 0 | 1 | 22.22 to 27.78 | - | Biosemi | - | - | FALSE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning | SMR,mu | Operant,Tactile | Simultaneous | Synchronous | Same subject calibration | FALSE | TRUE | FALSE | TRUE | FALSE | MI | 2 | 3 | BP 8-25Hz (Sim.) BP 8-15Hz (Seq.) | CSP | LDA | ~61 (indiv) ~72 (seq.) | - | TSA | 2 | 3 | BP 8-25Hz (Sim.) BP 16-25Hz (Seq.) | CSP | LDA | ~59 | - | MI tasks | 2 | 2 | Nothing | 60 | - | ? | Simultaneous hBCI requires both TSA and MI at the same time. Sequential. hBCI starts with TSA and then MI for the same hand-side indicated by the interface. Since the sequential experiment started with TSA, both Sequential-TSA and TSA results are the same. There are no online trials. Although the article mentions a questionneire, there are no results for it. The results are also not in a table, but in images, that's why they are approximated. Filtering varied for each paradigm. Cross validation used 3 groups for training and 7 for validation (usually, proportion is 1:9)
37 | Ahn et al. | Achieving a hybrid brain–computer interface with tactile selective attention and motor imagery | 2014 | 16 | 1 | 1 | 22.22 to 27.78 | - | Biosemi | - | BioSemi ActiView,BCI2000,MatLab | FALSE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning | SMR,mu | Operant,Tactile | Sequential | Synchronous | Same subject calibration | FALSE | TRUE | FALSE | TRUE | FALSE | MI | 2 | 3 | BP 8-25Hz (Sim.) BP 8-15Hz (Seq.) | CSP | LDA | ~61 (indiv) ~72 (seq.) | - | TSA | 2 | 3 | BP 8-25Hz (Sim.) BP 16-25Hz (Seq.) | CSP | LDA | ~59 | - | MI tasks | 2 | 2 | Nothing | 71 | - | ? | Simultaneous hBCI requires both TSA and MI at the same time. Sequential. hBCI starts with TSA and then MI for the same hand-side indicated by the interface. Since the sequential experiment started with TSA, both Sequential-TSA and TSA results are the same. There are no online trials. Although the article mentions a questionneire, there are no results for it. The results are also not in a table, but in images, that's why they are approximated. Filtering varied for each paradigm. Cross validation used 3 groups for training and 7 for validation (usually, proportion is 1:9)
139 | Allison et al. | Toward a hybrid brain–computer interface based on imagined movement and visual attention | 2010 | 14 | 1 | 1 | 22.9 | - | g.USBamp | B 0.5-100Hz | Graz rts BCI,MatLab | FALSE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SMR | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | TRUE | TRUE | FALSE | FALSE | MI | 2 | 4 | 11 non-overlapping BP 8-30Hz (step: 2Hz) per channel DS by 25* | SFFS/LDA (sequential floating forward selection) (selects 5 best features) | 8s (step: 0.5s) Running Classifier LDA | 74.9 | - | SSVEP | 2 | 4 | 11 non-overlapping BP 8-30Hz (step: 2Hz) per channel DS by 25* | SFFS/LDA (sequential floating forward selection) (selects 5 best features) | 8s (step: 0.5s) Running Classifier LDA | 76.9 | - | Target Selection + MI task | 2 | 2 | Nothing | 81 | - | Two questions Likert scale | A hybrid system using MI and SSVEP is proposed. A screeen showed the target and two LED had flickering frequencies. The signal from all electrodes were processed equally. Two stages for selection were done. On the first, the SFFS/LDA method was used, where 11 band powers were generated and downsampled to extract only 21 samples per segment and then fed into an LDA classifier to normalize and optimize the features. In stage 2, a running classifier was chosen to select the best 0.5 segment for the LDA classifier and the optimized features extracted before (i.e. the power bands and channels) were applied to the best 0.5s segment. Eight runs were performed per participant. The first two were MI only, the other two were SSVEP only and the final four were hybrid. One online pilot experiment was done with one subject, but not enough results were generated to be included here.
14 | Allison et al. | A hybrid ERD/SSVEP BCI for continuous simultaneous two dimensional cursor control | 2012 | 10 | 1 | 1 | - | - | g.USBamp | Chsh BP 0.5-100Hz N 50Hz | MatLab,Simulink | TRUE | FALSE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SMR | Visual,Operant | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | SSVEP | 2 | 8 | - | Logarithmic band power (frq + 3 harmonics) | LDA | - | - | MI | 2 | 8 | - | CSP | LDA | - | - | Target Selection + Continuous ERD | 8 | 2 | Cursor/Game | 60 | - | Eight questions Likerts scale | System uses MI and SSVEP to control a ball that can move in a 2D space. There are eight targets, which the participant can move the ball towards. The results were presented graphically. The average is around 60% but no clear number was given.
72 | An et al. | Exploring Combinations of Auditory and Visual Stimuli for Gaze-Independent Brain-Computer Interfaces | 2014 | 15 | 0 | 1 | 27.33 to 32.59 | - | BrainAmp | Chsh BP 40-49Hz (for offline only) DS @ 100Hz | PyFF | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | ERP | Visual,Auditory | Sequential | Synchronous | Same subject calibration | FALSE | TRUE | FALSE | FALSE | FALSE | P300 | 6 | 0.8 | - | Average per channel | LDA | - | 85.4 | P300 | 3 | 0.8 | - | Average per channel | LDA | - | 66.2 | Target Selection | 36 | 2 | Speller | 87.7 | 1.65 char/min | NASA TLX | Two hybrid paradigms were tested, simultaneous and sequential. Only ERP (P300) was used, but for both visual and auditory paradigms. On the simultaneous, sounds and flashing targets would be combined to select a character in two stages (group selection, character within group selection). On the sequential, different sounds and targets would be presented one after the other. The participant needed to focuse on the target corresponding to the group and the sound corresponding to the letter (each sound corresponded to a geometrical spot as well). Signal processing was the same for both visual and auditory stimuli provenient simuli. NASA TLX was performed for all participants after the calibration phase for each condition (V, A, VA seq. & VA sim.)
72 | An et al. | Exploring Combinations of Auditory and Visual Stimuli for Gaze-Independent Brain-Computer Interfaces | 2014 | 15 | 1 | 1 | 27.33 to 32.59 | - | BrainAmp | Chsh BP 40-49Hz (for offline only) DS @ 100Hz | - | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | ERP | Visual,Auditory | Simultaneous | Synchronous | Same subject calibration | FALSE | TRUE | FALSE | FALSE | FALSE | P300 | 6 | 0.8 | - | Average per channel | LDA | - | -- | P300 | 3 | 0.8 | - | Average per channel | LDA | - | 62.4 | Target Selection | 36 | 2 | Speller | 92 | 2 char/min | NASA TLX | Two hybrid paradigms were tested, simultaneous and sequential. Only ERP (P300) was used, but for both visual and auditory paradigms. On the simultaneous, sounds and flashing targets would be combined to select a character in two stages (group selection, character within group selection). On the sequential, different sounds and targets would be presented one after the other. The participant needed to focuse on the target corresponding to the group and the sound corresponding to the letter (each sound corresponded to a geometrical spot as well). Signal processing was the same for both visual and auditory stimuli provenient simuli. NASA TLX was performed for all participants after the calibration phase for each condition (V, A, VA seq. & VA sim.)
16 | Breitwieser et al. | A hybrid three-class brain–computer interface system utilizing SSSEPs and transient ERPs | 2016 | 14 | 1 | 1 | 20.1 to 32.5 | - | g.HIamp | N 50Hz BP 0.5-200Hz | TiA,TiD | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Tactile | Simultaneous | Synchronous | Same subject calibration | TRUE | TRUE | TRUE | TRUE | FALSE | SSSEP | 10 | 2022-07-05 | 5th Butt BP frq±1Hz | LAS | sLDA | - | 42.1 | tERP | 2 | 7.5 | 3rd But LP 10Hz | Average DS by 10 | sLDA | - | 40.3 | Target Selection | 2 | 2 | Nothing | 44.5 | - | - | The two index fingers were stimulated with the two selected frequencies simultaneously (SSSEP) and twiches happened to create an ERP effect (P300) one finger at a time. System removed EOG artefacts. SSEP and ERP results were threshold-fused via Bayes' theorem and K linear discriminant functions (K=3).
121 | Brennan et al. | Performance of a Steady-State Visual Evoked Potential and Eye Gaze Hybrid Brain-Computer Interface on Participants With and Without a Brain Injury | 2020 | 30 | 1 | 0 | 22.87 to 52.33 | - | g.USBamp | - | - | TRUE | FALSE | Heterogeneous | External Input | Selective Attention | SSEP | Visual | Simultaneous | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | SSVEP | 4 | 4.0625 | Spatial Filtering (MEC) | Power spectrum | Threshold detection | - | 93.3 | Eye Task | 5 | 1.6 | - | Screen location | - | - | 90.61 | Target Selection | 4 | 1 | Home automation | 99.84 | 24.41 | - | This paper uses SSVEP and Eye Gaze to control a Visual Interface. SSVEP is based on thresholds. The window was a sliding one that could increase in size if no classifications could be made. Eye Gaze is based on dwelling time on sub-sections of the interface. The dwelling time was set to 1.6s (i.e., 50 votes). One recalibration is allowed if trials are not yielding proper results. In case of recalibration, the session is restarted. For healthy participants, 2 sessions took place. For brain injured, 1 session took place. Cues and thresholds were set by the experimenter. Sampling rate not reported for EEG (!!!)
121 | Brennan et al. | Performance of a Steady-State Visual Evoked Potential and Eye Gaze Hybrid Brain-Computer Interface on Participants With and Without a Brain Injury | 2020 | 14 | 1 | 1 | 27.7 to 55.5 | Brain Injury | g.USBamp | - | OpenVibe | TRUE |  | Heterogeneous | External Input | Selective Attention | SSEP | Visual | Simultaneous | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | SSVEP | 4 | 4.0625 | Spatial Filtering (MEC) | Power spectrum | Threshold detection | - | 80.26 | Eye Task | 5 | 1.6 | - | Screen location | - | - | - | Target Selection | 4 | 1 | Home automation | 99.14 | 15.87 | One question about system preference | =
7 | Brunner et al. | A comparison of three brain–computer interfaces based on event-related desynchronization, steady state visual evoked potentials, or a hybrid approach using both signals | 2011 | 12 | 1 | 1 | 23.7 to 28.1 | - | g.USBamp | BP 0.5-100Hz | MatLab,Simulink | TRUE | FALSE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SMR | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | TRUE | TRUE | FALSE | MI | 3 | 8 | BP 10-12Hz & 16-24Hz | - | LDA | 79.9 | 76.9 | SSVEP | 2 | 1 | - | Log PSD (1s) Frqs±0.5Hz and second, third harmonics | LDA | 98.1 | 94 | Target Selection | 2 | 2 | Nothing | 95.6 | 6.3 | Five questions Likert scale | Results reported the Maximum value not the average. No actuation. Results generated through cross-validated accuracies.
92 | Buccino et al. | Hybrid EEG-fNIRS Asynchronous BrainComputer Interface for Multiple Motor Tasks | 2016 | 15 | 1 | 1 | 19.7 to 35.1 | - | microEEG | - | NIRStar,Neurobehavioral System | FALSE | TRUE | Homogeneous | Multi-Brain Approach | Operant Conditioning | SMR | Operant | Simultaneous | Asynchronous | Same subject calibration | TRUE | FALSE | FALSE | FALSE | TRUE | ME | 4 | 1 | 4th Butt BP 8-12Hz 4th Butt BP 18-25Hz Normalization | RCSP (Regularized CSP) | Log transformed LDA | 72.8 | - | - | - | 1 | Variations of concentration 4th Butt BP 0.01-0.2Hz Normalization | RCSP <Average> | Log transformed LDA | 79.77 | - | Target Selection | 4 | 1 | Nothing | 82.1 | 4 | 1 | The system tried to identify R/L-hand and R/L-arm movement using EEG and fNIRS. Each type of signal was prcessed separately but classified together. A single LDA classifer was used to classify a single feature vector constructed with both signals. Three CSP spatial fiters are generated: to differentiate Rest-Task, R-L and Arm-Hand. Therefore, three classifications were generated.
62 | Chiarelli et al. | Deep learning for hybrid EEG-fNIRS brain–computer interface: application to motor imagery classification | 2018 | 15 | 1 | 1 | 27 to 37 | - | Net 300 | - | Python | FALSE | TRUE | Homogeneous | Multi-Brain Approach | Operant Conditioning | SMR | Operant | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | FALSE | TRUE | MI | 2 | 1 | 2nd Butt BP 8-30Hz | ERS/ERD | DNN | 73.38 | - | - | - | 1 | Average | Variations of concentration | DNN | 71.92 | - | MI Task | 2 | 1 | Nothing | 83.28 | - | - | System tested a hybrid EEG-fNIRS MI system in an offline setting. Each brain signal had a different filtering and feature selection, but one DNN classifier used a single feature vector including both. Results were generated with a 10-fold CV. The paper compared the DNN results with LDA & SVM classifiers. DNN was better.
125 | Duan et al. | Quadcopter Flight Control Using a Non-invasive Multi-Modal Brain Computer Interface | 2019 | 9 | 1 | 1 | 22 to 32 | - | - | BP 0.3-100Hz | BCI2000,MatLab | TRUE | FALSE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SMR | Visual,Operant,Auditory | Sequential | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | SSVEP | 2 | 1.5 | BP 5-40Hz | CCA | SVM | 83.44 | - | MI | 2 | 1.5 | BP 9-12Hz CAR (common average reference) | CICSP (complete information CSP) PCA | SVM | 80.45 | - | Target Selection + MI Task | 5 | 1 | Drone/Vehicle/Wheelchair | 87.65 | - | - | System utilizes MI or SSVEP modes to trigger commands and modes can be switched via double blink. The experiment performs a real-world flight as well, but no valid metrics could be collected from it, so only the virtual environment flight is considered. Both paradigms were classified through an SVM. The drone can turn and go up and down.
64 | Duan et al. | Design of a Multimodal EEG-based Hybrid BCI System with Visual Servo Module | 2015 | 3 | 0 | 0 | 23 to 27 | - | g.USBamp | BP 5-60Hz N 50Hz | - | TRUE | FALSE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SMR,mu | Visual,Operant | Sequential | Asynchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | SSVEP | 3 | 3 | - | - | CCA | - | -- | MI | 1 | 8 | - | - | STFT | - | -- | Target Selection + MI task | 5 | 3 | Robot/Robotic Hand | 73.3 | - | - | System utlizies SSVEP to move robot. When the robot reaches the table, Mu frquencies (closure of eyes) is used to switch from SSVEP to MI mode. Then, MI is used to perform grasping action. Two experiments were run: a simulated robot and an actual NAO robot experiment. Results are reported for each paradigm. Mu paradigm is disconsidered, since it was only used to swtich modes (ACC 86.7 for both simulated and real experiments) The paper is not clear in explaning window sizes and steps (for the FFT truncation). It is also not clear in explaining how SFFT is used as a classifier for MI (most likely through thresholds?). It is also not clear in specifying number of trials and sessions for online experiments. This line is the NAO robot.
64 | Duan et al. | Design of a Multimodal EEG-based Hybrid BCI System with Visual Servo Module | 2015 | 3 | 1 | 1 | 23 to 27 | - | g.USBamp | BP 5-60Hz N 50Hz | C#,MatLab | TRUE | FALSE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SMR,mu | Visual,Operant | Sequential | Asynchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | SSVEP | 3 | 3 | - | - | CCA | - | 89 | MI | 1 | 8 | - | - | STFT | - | 93.3 | Target Selection + MI task | 5 | 3 | Robot/Robotic Hand | 80 | - | - | System utlizies SSVEP to move robot. When the robot reaches the table, Mu frquencies (closure of eyes) is used to switch from SSVEP to MI mode. Then, MI is used to perform grasping action. Two experiments were run: a simulated robot and an actual NAO robot experiment. Results are reported for each paradigm. Mu paradigm is disconsidered, since it was only used to swtich modes (ACC 86.7 for both simulated and real experiments) The paper is not clear in explaning window sizes and steps (for the FFT truncation). It is also not clear in explaining how SFFT is used as a classifier for MI (most likely through thresholds?). It is also not clear in specifying number of trials and sessions for online experiments. This line is for the robot simulator.
8 | Egan et al. | A gaze independent hybrid-BCI based on visual spatial attention | 2017 | 10 | 1 | 1 | - | - | Biosemi | BP 0-135Hz HP 0.25Hz LP 30Hz | - | FALSE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | P300 | 2 | 1 | Average for attended and unattended targets | - | LDA | 75 | - | SSVEP | 2 | 2 | STD and Avg around Frqs and alpha | FFT | LDA | 62 66 | - | Target Selection | 2 | 2 | Nothing | 79 | - | - | Results using group electrode selection and individual electrode selection. All experiments were offline. Averages were generated through repetition of 1000x of 10-fold Cross-Validation.
5 | Fan et al. | A Brain–Computer Interface-Based Vehicle Destination Selection System Using P300 and SSVEP Signals | 2015 | 16 | 0 | 0 | 21 to 36 | - | SYMTOP | N BP 0.5-30Hz | - | TRUE | FALSE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Sequential | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | P300 | 9 | 0.512 | DS by 2 BP 0.5-15Hz | Sum 10 rounds PCA | LDA | - | 88.99 | SSVEP | 2 | 8 | - | Sum PSD Frqs±0.5 and first harmonics | LDA | - | 90.48 | Target Selection | 9 | 2 | Drone/Vehicle/Wheelchair | 98.93 | 25.95 s | - | Results are all onfline for lab and driving situations. There is no specification about the Mode of Operation (times are specified, but there is no mention about it being self-paced or cued). Driving session.
5 | Fan et al. | A Brain–Computer Interface-Based Vehicle Destination Selection System Using P300 and SSVEP Signals | 2015 | 16 | 1 | 1 | 21 to 36 | - | SYMTOP | N BP 0.5-30Hz | - | TRUE | FALSE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Sequential | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | P300 | 9 | 0.512 | DS by 2 BP 0.5-15Hz | Sum 10 rounds PCA | LDA | - | 90.68 | SSVEP | 2 | 8 | - | Sum PSD Frqs±0.5 and first harmonics | LDA | - | 93.55 | Target Selection | 9 | 2 | Drone/Vehicle/Wheelchair | 99.07 | 24.19 s | - | Results are all onfline for lab and driving situations. There is no specification about the Mode of Operation (times are specified, but there is no mention about it being self-paced or cued). Lab session
110 | Glowinsky et al. | Limited value of temporo-parietal hemodynamic signals in an optical-electric auditory brain-computer interface | 2018 | 11 | 1 | 1 | 22.3 to 28.9 | - | BrainAmp | - | MatLab | FALSE | TRUE | Homogeneous | Multi-Brain Approach | Selective Attention | ERP | Auditory | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | TRUE | FALSE | TRUE | P300 | 2 | 0.9 | BP 0.1-250Hz (hardware) 3rd Butt LP 8Hz ICA filter | DS @ 20Hz | L1 regularized logistic regression | 80.7 | - | - |  | 0.9 | 2nd Chsh BP 0.1-0.5Hz | Slope Max Amplitude Range Mean Amplitude Root Mean Square Waveform length [s] | L1 regularized logistic regression | ~50 | - | Target Selection | 2 | 1 | Nothing | 77.43 | - | - | Experiment uses EEG and NIRS with an auditory P300 paradigm. Each ear repeatedly receives one type of stimuli (male saying Yes or female saying No) and an oddball (Yup or Nay). Each signal was processed and classified on its own. To combine both signals for the hBCI, features were selected previously. All experiments were offline. EEG had the best result.
25 | Jalilpour et al. | A novel hybrid BCI speller based on RSVP and SSVEP paradigm | 2020 | 6 | 1 | 1 | 22 to 27 | - | g.Hlamp | - | MatLab,Psychotoolbox,BBCI | FALSE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | SSVEP | 3 | 1 | FIR BP 1-47Hz | CCA M Corr. Coeff | RBF-SVM (Radial basis Function) | 96.75 | - | RSVP | 27 | 1 | FIR BP 0.5-25Hz Baseline correction | DS by 10 Wavelet Coeff Absolute shrinkage Lasso sel. operator | rLDA | 96.29 | - | Target Selection | 27 | 2 | Speller | 93.06 | 21.41 | - | System uses triple RSVP and SSVEP. Only one square flashes at 15Hz but three potentials can be read depending on the position of the letter. Results are computed with 3FCV
24 | Kaongoen & Jo | A novel hybrid auditory BCI paradigm combining ASSR and P300 | 2017 | 10 | 1 | 1 | 18 to 22 | - | OpenBCI | - | MatLab | FALSE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Auditory | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | ASSR | 2 | 3 | 5th Butt BP 0.1-50Hz | CCA | FLDA (Fisher's LDA) | 66.68 | - | P300 | 2 | 0.8 | 5th Butt BP 1-12Hz Winsorization 5-95% | 8th LP Chsh IIR DS by 15 | FLDA (Fisher's LDA) | 74.58 | - | Sound Selection | 2 | 2 | Nothing | 85.33 | 9.11 | - | System was tested preliminarly, results were offline (10FCV). Binary classification. Fusion uses Linear weights for both paradigms. A SWLDA is used to find the optimal weights.
27 | Katyal & Singla | A novel hybrid paradigm based on steady state visually evokedpotential & P300 to enhance information transfer rate | 2020 | 10 | 1 | 1 | 19 to 36 | - | eego Sports | BP 0.1-40Hz PCA artifact correction | MatLab,ASATM | FALSE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | TRUE | TRUE | FALSE | SSVEP | 4 | 1 | 6th Butt BP 5-30Hz | PSD | CCA | 93.78 | - | P300 | 2 | 1 | LP 5Hz Normalize amp. | Threshold | BLDA | 79.36 | - | Target Selection | 8 | 2 | Nothing | 92.3 | 82.38 | - | For the fusion function, an SVM classifier was used to classify, based on the feature vector of 3x480 (PE, PO, S). The individual classifiers were used for the parallel hybrid and for the individual paradigms. The results are shown for the colored Quadratic SVM, which were the best. Colored vs. white stimuli were tested and colored ones had a better result. All results were offline. BLDA and CCA were only used for individual paradigms or for the parallel fusion. Offline accuracies for the individual paradigms, were the ones reported in the individual experiments and not for the hybrid components.
98 | Khalaf et al. | Hybrid EEG–fTCD Brain–Computer Interfaces | 2020 | 10 | 1 | 1 | 23 to 32 | - | g.USBamp | EEG: 8th BP 2-62Hz 4th N 58-62Hz | - | FALSE | TRUE | Homogeneous | Multi-Brain Approach | Operant Conditioning | SMR | Operant | Simultaneous | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | FALSE | TRUE | MI | 2 | 7.7 | - | PSD (Welch's) AVG 2Hz window CDF (cumulative distribution function) | SVM | 81.86* (offline) | - | - | - | - | - | - | - | 54.90* (offline) | - | Target Selection | 2 | 1 | Nothing | 83.73 | 6.82 | - | System uses MI and records signals via EEG and fTCD. Rest state is included. The classifications are done for binary options and no 'system result' is presented. Optimal window sizes are picked for each binary problem. The final classifications for EEG and fTCD were calculated averaging the means of the individual binary outputs.
98 | Khalaf et al. | Hybrid EEG–fTCD Brain–Computer Interfaces | 2020 | 11 | 1 | 1 | 25 to 32 | - | g.USBamp | EEG: 8th BP 2-62Hz 4th N 58-62Hz | Blender | FALSE | TRUE | Homogeneous | Multi-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SCP | Visual,Operant | Simultaneous | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | FALSE | TRUE | SSVEP | 2 | 7.82 | - | PSD (Welch's) AVG 2Hz window | SVM | 83.44* (offline) | - | Mental Task | Word Formation Rotation | 7.82 | - | PSD (Welch's) AVG 50Hz window | SVM | 53.77* (offline) | - | Target Selection | 2 | 2 | Nothing | 87.46 | 4.46 | - | System uses Word formation and mental rotation with flickering patterns to elicit SSVEP while generating blood variations of concentration. Rest state is included. The classifications are done for binary options and no 'system result' is presented. Optimal window sizes are picked for each binary problem. The final classifications for EEG and fTCD were calculated averaging the means of the individual binary outputs.
134 | Ko et al. | SSVEP-assisted RSVP brain–computer interface paradigm for multi-target classification | 2020 | 14 | 1 | 1 | 21.49 to 28.11 | - | Neuroscan | BP 0.5-50Hz | Unity,C#,MatLab | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Sequential | Asynchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | SSVEP | 4 | 1 | - | - | CCA | 97.78 | 95.54 | RSVP | 4 | 0.6 | DS @ 64Hz | - | Bagging | 83.45 | 81.75 | Target Selection | 64 | 2 | Cursor/Game | 78.1 | 7.95 | - | Experiment used SSVEP and RSVP to play a game. The first stage required user to select the target position vis SSVEP. The second stage required the user to select the matching icon (to form a line or column) using RSVP. Each target location flashed at the same frequency. To switch phases, a click was required. Each paradigm used its own conditioning and classification. Offline and online results are provided.
10 | Lee et al. | A High Performance Spelling System based on EEG-EOG Signals With Visual Feedback | 2018 | 20 | 0 | 1 | 24 to 32 | - | BrainAmp | DS @ 100Hz 5th Butt BP 0.1-25Hz | - | TRUE | FALSE | Heterogeneous | Multi-Physiological | Selective Attention | ERP | Visual | Sequential | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | P300 | 36 | 0.6 | Baseline correction subtracting 0-0.2s from signal | Mean amplitudes of 8 discriminant intervals | LDA | - | - | Eye Task | 1 | 0.15 | DS @ 32Hz (5th Chsh) | - | Threshold detection | - | - | Target Selection | 36 | 2 | Speller | 97.8 | 40.6 | Three questions Likert scale | Synchronous and asynchronous experiments done. Wink confirmed selection. No offline results found. P300 was given by column-row highlights.
10 | Lee et al. | A High Performance Spelling System based on EEG-EOG Signals With Visual Feedback | 2018 | 20 | 1 | 1 | 24 to 32 | - | BrainAmp | DS @ 100Hz 5th Butt BP 0.1-25Hz | MatLab,OpenBMI,Psychotoolbox | TRUE | FALSE | Heterogeneous | Multi-Physiological | Selective Attention | ERP | Visual | Sequential | Asynchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | P300 | 36 | 0.6 | Baseline correction subtracting 0-0.2s from signal | Mean amplitudes of 8 discriminant intervals | LDA | - | - | Eye Task | 1 | 0.15 | DS @ 32Hz (5th Chsh) | - | Threshold detection | - | - | Target Selection | 36 | 2 | Speller | 98.2 | 37.6 | Three questions Likert scale | Synchronous and asynchronous experiments done. Wink confirmed selection. No offline results found. P300 was given by column-row highlights.
11 | Li et al. | A Human-Vehicle Collaborative Simulated Driving System Based on Hybrid Brain–Computer Interfaces and Computer Vision | 2018 | 6 | 1 | 1 | - | - | g.USBamp | BP 5-60Hz N 50Hz | MatLab | TRUE | FALSE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SMR | Visual,Operant | Sequential | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | SSVEP | 2 | 4 | - | - | CCA | - | 97.7 | MI | 2 | 4 | wCCA | CSP | kNN | 77.2 | 77.4 | Target Selection | 5 | 1 | Drone/Vehicle/Wheelchair | 91.1 | 85.8 | - | System uses computer vision-based system to recognize virtual road condition. EEG processing is only active when reaching a corner or an intersection, or when close to a destination. SSVEP is only used to start/stop vehicle and MI is used to turn left or right.
45 | Lin et al. | An online hybrid BCI system based on SSVEP and EMG | 2016 | 5 | 1 | 1 | 22.7 to 24.5 | - | Neuroscan |  | MatLab,Psychotoolbox | TRUE | TRUE | Heterogeneous | Multi-Physiological | Selective Attention | SSEP | Visual | Simultaneous | Asynchronous | Same subject calibration | FALSE | FALSE | TRUE | TRUE | FALSE | SSVEP | 14 | 2 | - | - | CCA | - | -- | EMG | 4 | 0.1 | - | Mean filtering algorithm | Treshold detection | - | -- | Target Selection | 60 | 3 | Speller | 82.6 | - | - | System presents a stimulation stage and a multi-choice stage. In the stimulation, the participant selects the target section by making the number of corresponding fists and looks at the freq. of the target. Each section has the same 15 frqs. In the multi-choise, the participant had two most likly choices. If he did one fist, the second choice was selected. Results are presented for a system with and without the multi-choice stage. The fusion was based on paradigms accuracies (optimal and suboptimal options based on the two highest selections of the SSVEP and EMG). A free spelling task was also done with 5 participants.
45 | Lin et al. | An online hybrid BCI system based on SSVEP and EMG | 2016 | 10 | 1 | 0 | 22.9 to 27.5 | - | Neuroscan |  | - | TRUE | TRUE | Heterogeneous | Multi-Physiological | Selective Attention | SSEP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | TRUE | TRUE | FALSE | SSVEP | 14 | 2 | - | - | CCA | - | 91.6 | EMG | 4 | 0.1 | - | Mean filtering algorithm | Treshold detection | - | 93.3 | Target Selection | 60 | 3 | Speller | 85.8 | 90.9 | - | System presents a stimulation stage and a multi-choice stage. In the stimulation, the participant selects the target section by making the number of corresponding fists and looks at the freq. of the target. Each section has the same 15 frqs. In the multi-choise, the participant had two most likely choices. If he did one fist, the second choice was selected. Results are presented for a system with and without the multi-choice stage. The fusion was based on paradigms accuracies (optimal and suboptimal options based on the two highest selections of the SSVEP and EMG). A free spelling task was also done with 5 participants.
150 | Long et al. | A Hybrid Brain Computer Interface to Control the Direction and Speed of a Simulated or Real Wheelchair | 2012 | 5 | 1 | 1 | - | - | NuAmps | BP 0.5-100Hz | - | TRUE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | ERP,SMR | Visual,Operant | Sequential | Asynchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | P300 | 8 | 0.6 | BP 0.1-20Hz DS by 6 | Average of 4 data vectors of button flashes | LDA | - | - | MI | 3 | 1 | Common Average Reference (CAR) BP 8-32Hz | OVR-CSP | 4 LDAs (one for each command [includes idle state]) | - | - | MI task + Target Selection | 5 | 1 | Drone/Vehicle/Wheelchair | 100 | - | - | Hierarchy of signals: directional control, speed control and idle.
136 | Long et al. | Target Selection With Hybrid Feature for BCI-Based 2-D Cursor Control | 2012 | 11 | 1 | 1 | 22 to 32 | - | NuAmps | BP 0.5-100Hz | - | TRUE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | ERP,SMR | Visual,Operant | Simultaneous | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | P300 | 8 | 0.6 | BP 0.1-20Hz DS by 6 | - | SVM |  |  | MI | 2 | 2 | CAR BP 8-14Hz | CSP | SVM | - | 87.61 | Target Selection + MI task | 5 | 3 | Cursor/Game | 92.84 | 18.96s | - | System utilizes MI and P300 to move circle to target. Then a target selection needs to be done via MI only or rejected via P300 only. Each paradigm is conditioned and processed separately. A single SVM classifier was used with a hybrid feature vector. An MI BCI system is also programmed and compared to the hBCI (MI online result corresponds to this). Online and offline experiments were carried on. Offline served for calibration.
15 | Mannan et al. | A Hybrid Speller Design Using Eye Tracking and SSVEP Brain–Computer Interface | 2020 | 20 | 1 | 1 | 24 to 46 | - | g.USBamp | N 50Hz DS @ 300Hz BP 12-110Hz | MatLab | TRUE | FALSE | Heterogeneous | External Input | Selective Attention | SSEP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | TRUE | TRUE | FALSE | SSVEP | 6 | 1 | - | - | CCA | - | - | Eye Task | - | 1 | - | Epoch Mean | - | - | - | Target Selection | 48 | 1 | Speller | 90.35 | 184.06 | Three questions Likert scale | System uses SSVEP and Eyegaze to identify characters. Eyegaze selects subgroups and SSVEP selects characters within groups. There were asynchronous and synchronous experiments, but there are only valid results for the synchronous. Data is extracted simultaneously (from Eye Gaze and SSVEP) and information is crossed to define subgroup and character (i.e., location of gaze and frequency from SSVEP)
85 | Mousavi et al. | Hybrid brain-computer interface with motor imagery and error-related brain activity | 2020 | 12 | 1 | 1 | 19.4 to 21.4 | - | BrainAmp | DS @ 100Hz | Python,SNAP,LSL,MatLab,EEGLAB | TRUE | FALSE | Homogeneous | Single-Brain Approach | Operant Conditioning | SMR | Operant | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | MI | 2 | 1 | 6th Butt BP 7-30Hz | CSP | LDA | - | 61.75 | ErrP | 2 | 0.9 | 6th Butt BP 1-30Hz <6th Butt BP 1-10Hz> | CSP <Average> | LDA <LDA> | - | - | MI Task | 2 | 1 | Cursor/Game | 75.33 | 2.1 | One Likert-scale question + one questionnaire (not used for the analysis) | System used MI and ErrP BCI. Each paradigm was classified independently (R/L, G/B-CSP, G/B-WM) and combined via fusion. The fusion combined the probabilities via logisitc regression. During the trainaing phase (3 blocks), participants received sham feedback (to calibrate MI classifier and collect ErrP). The next 6 blocks, provided the participants with actual feedback. ErrP uses two classifers. One uses the CPS as features and the second uses windowed-means.
73 | Nann et al. | Feasibility and Safety of Bilateral Hybrid EEG/EOG Brain/Neural–Machine Interaction | 2020 | 8 | 1 | 1 | 20.9 to 27.3 | - | LiveAmp | - | BCI2000 | TRUE | FALSE | Heterogeneous | Multi-Physiological | Operant Conditioning | SMR | Operant | Sequential | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | MI | 2 | 0.5 | 1st Butt BP 1-30Hz Surface Laplacian filter | Power spectrum SMR-ERD | Threshold detection | - | 78.84 | Eye Task | 2 | - | 1st Butt BP 0.02-3Hz | 70% of median | Threshold detection | - | 100 | MI task + HOV | 4 | 3 | Robot/Robotic Hand | 85.89 | - | Seven questions Likerts scale (for tetraplegics) | System used a two stage paradigm to close two exoskeletons (R & L). The first stage was of activation, with a prolonged HOV to select which side and the second stage was to close the exoskeleton, using ERD for a period of time. A short HOV could be used to cancel the command. Both paradigms used thresholds for classification. Healthy participants and tetraplegics underwent the same paradigm. Some minor adjustments were made for the tetraplegics.
73 | Nann et al. | Feasibility and Safety of Bilateral Hybrid EEG/EOG Brain/Neural–Machine Interaction | 2020 | 4 | 1 | 0 | 36.6 to 67 | Tetraplegic | LiveAmp | - | - | TRUE | FALSE | Heterogeneous | Multi-Physiological | Operant Conditioning | SMR | Operant | Sequential | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | MI | 2 | 0.5 | 1st Butt BP 1-30Hz Surface Laplacian filter | Power spectrum SMR-ERD | Threshold detection | - | 71.88 | Eye Task | 2 | - | 1st Butt BP 0.02-3Hz | 70% of median | Threshold detection | - | 100 | MI task + HOV | 4 | 3 | Robot/Robotic Hand | 81.25 | - | Seven questions Likerts scale (for tetraplegics) | System used a two stage paradigm to close two exoskeletons (R & L). The first stage was of activation, with a prolonged HOV to select which side and the second stage was to close the exoskeleton, using ERD for a period of time. A short HOV could be used to cancel the command. Both paradigms used thresholds for classification. Healthy participants and tetraplegics underwent the same paradigm. Some minor adjustments were made for the tetraplegics.
9 | Saravanakumar & Reddy | A high performance hybrid SSVEP based BCI speller system | 2019 | 10 | 1 | 1 | 22.74 to 29.66 | - | - | - | Java | TRUE | FALSE | Heterogeneous | External Input | Selective Attention | SSEP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | SSVEP | 11 | 4 | Extended multivariate synchronization index algorithm | S-estimator | - |  |  | Eye Task | 3 | - | DS @ 32Hz <-> | - <-> | ? <Cost function> | - <-> | - | Target Selection | 36 | 1 | Speller | 98.33 | 69.21 | - | The best results include visual feedback. The study includes many tests in terms of optimal electrodes and window size for SSVEP (it can get confusing). There are no results for offline analysis of individual input accuracies. There are cue-based tasks and free spelling tasks.
106 | Shi et al. | Indoor space target searching based on EEG and EOG for UAV | 2019 | 10 | 1 | 1 | 19.4 to 22.8 | - | NuAmps | - | C#,OpenGL,C | TRUE | FALSE | Heterogeneous | Multi-Physiological | Operant Conditioning | SMR | Operant | Sequential | Asynchronous | Different subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | MI | 2 | 2 | N 50Hz BP 0.5-30Hz ICA | JR coefficients (joint regression) FFT | SVM | 93.99 | - | Eye Task | 1 | 2 | Median filter (150ms window) | - | CWT (Continuous wavelet transofrm) | 97.95 | - | MI Task + Blinking | 5 | 1 | Drone/Vehicle/Wheelchair | 88.43 | - | - | Paper presents a hybrid BCI using MI and EOG. EOG triple blink was used to switch MI modes (horizontal to vertical mode). MI, using L/R hand movement, could control drone position. 6 participants did a calibration phase where they collected data. 10 participants did an online trial, where they used the calibrated system to fly. A trajectory was recorded for each participant. Idle state would allow the drone to keep flying.
35 | Shin et al. | A Ternary Hybrid EEG-NIRS Brain-Computer Interface for the Classification of Brain Activation Patterns during Mental Arithmetic, Motor Imagery, and Idle State | 2018 | 18 | 1 | 1 | 21.3 to 26.3 | - | Biosemi | EEG: DS @ 200Hz BP 0.1-50Hz EOG filtering NIRS: Hemodynamic variation 6th Butt BP 0.01-0.09Hz | StimTracker,MatLab,EEGLAB,BBCI | FALSE | TRUE | Homogeneous | Multi-Brain Approach | Operant Conditioning | SMR,SCP | Visual,Operant | Sequential | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | FALSE | TRUE | MI | 1 | 10s | FBCSP (Filter Bank CSP) | CSP | sLDA | 76.1 | - | Mental Task | 1 | Two windows of 5s | - | CSP | sLDA | 64.1 | - | MI tasks + Arithmetic | 3 | 1 | Nothing | 82.2 | 4.7 | - | MI proeficiency was evaluated based on elapsed time training. Cap was 30 min. Classificarion problem was reduced to 3 binary classifications. The classifiers were separate for EEG and NIRS and then combined with a meta-classifier.
42 | Soekadar et al. | An EEG/EOG-based hybrid brain-neural computer interaction (BNCI) system to control an exoskeleton for the paralyzed hand | 2015 | 1 | 1 | 1 | 34 | Flaccid hand paralysis | MOVE | BP 0.4-70Hz | BCI2000 | FALSE | TRUE | Heterogeneous | Multi-Physiological | Operant Conditioning | SMR | Operant | Sequential | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | MI | 1 | 5 | - | SMR-ERD | Threshold detection | 69.93 | - | Eye Task | 2 | - | - | Threshold | Threshold detection (two std below val) | - | - | MI task + Eye movement | 2 | 2 | Robot/Robotic Hand | 76.03 | - | - | This paper compares an MI system (single command) against an MI-EOG system (single command). The hybrid had the chance of correcting commands from MI using EOG. MI had a single command, to close the robotic hand through closing imagined motion, and EOG had a signle command of stopping and restarting robots position via right- or left-eye movement. Paper does lack to give some specific information like EOG sample window size, details of the paradigm and some technicalities in terms of trials.
42 | Soekadar et al. | An EEG/EOG-based hybrid brain-neural computer interaction (BNCI) system to control an exoskeleton for the paralyzed hand | 2015 | 5 | 1 | 0 | 22.7 to 30.3 | - | MOVE | BP 0.4-70Hz | - | FALSE | TRUE | Heterogeneous | Multi-Physiological | Operant Conditioning | SMR | Operant | Sequential | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | MI | 1 | 5 | - | SMR-ERD | Threshold detection | 70.24 | - | Eye Task | 2 | - | - | Threshold | Threshold detection (two std below val) | - | - | MI task + Eye movement | 2 | 2 | Robot/Robotic Hand | 80.65 | - | - | This paper compares an MI system (single command) against an MI-EOG system (single command). The hybrid had the chance of correcting commands from MI using EOG. MI had a single command, to close the robotic hand through closing imagined motion, and EOG had a signle command of stopping and restarting robots position via right- or left-eye movement. Paper does lack to give some specific information like EOG sample window size, details of the paradigm and some technicalities in terms of trials.
140 | Wu et al. | Toward a hybrid brain-computer interface based on repetitive visual stimuli with missing events | 2016 | 9 | 1 | 1 | 23 to 26 | - | g.USBamp | BP 0.01-100 Hz N 48-52Hz | Psychotoolbox,FieldTrip | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | SSVEP | 2 | 2.5 | BP 1-45Hz | - | CCA | - | - | P300 | 2 | 0.25 | - | SVM | Naive Bayes | - | - | Target Selection | 4 | 2 | Nothing | 86.92 | 24.06 | - | System utilizes SSVEP combined with OSP (omitted stimulus potential = ERP). Four flickering disks are displayed around the centre of the screen. Two at 10Hz, two at 12Hz and missing flickers ocurred in all disks, at different times to generate OSP. CCA is used for SSVEP and SVM+Naive Bayesan is used for the OSP. Two methods are tested (with white missing or black missing). White missing yields a higher performance. Many signal analysis are also presented in this paper. Window size for SSVEP analysis is not stated clearly, so 2.5s were used as that is the stimuli time presentation.
103 | Xu et al. | Implementing Over 100 Command Codes for a High-Speed Hybrid Brain-Computer Interface Using Concurrent P300 and SSVEP Features | 2020 | 10 | 1 | 1 | 21 to 26 | - | SynAmps2 | BP 0.1-200Hz N 50Hz | MatLab,Psychotoolbox | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Simultaneous | Asynchronous | Same subject calibration | FALSE | FALSE | FALSE | FALSE | FALSE | SSVEP | 12 | 0.4 | Chsh Filterbank 1-92Hz (step: 11Hz) DS @ 250Hz | Channels: Fz, Cz, Pz, PO7, PO8, O1, O2, and Oz | TRCA (Ensemble Task-Related Component Analysis) | 75.37 | - | P300 | 9 | 0.4 | Chsh Filterbank 1-92Hz (step: 11Hz) DS @ 250Hz | Channels: Fz, Cz, Pz, PO7, PO8, O1, O2, and Oz | TRCA (Ensemble Task-Related Component Analysis) | 91.85 | - | Target Selection | 108 | 2 | Speller | 79.17 | 164.69 | - | In this experiment, a 108-character speller was developed. P300 and SSVEP were generated simultaneously using 12 sub-spellers of 3x3 symbols. Each sub-speller had a defined frquency and phase that would be shown for 200ms at each character following a sinusoidal wave (thus generating an ERP and SSEP stimuli simultaneously). Many filters, features and classifiers were experimented in offline sessions. The best combination was the one reported, using a filterbank, downsampling and TRCA classifier. P300 and SSVEP features were extracted using a combination of P300 channels and SSVEP channels. The final result refers to the final target selection (i.e., the combination of sub-speller and sub-speller character selection).
103 | Xu et al. | Implementing Over 100 Command Codes for a High-Speed Hybrid Brain-Computer Interface Using Concurrent P300 and SSVEP Features | 2020 | 10 | 0 | 1 | 21 to 26 | - | SynAmps2 | BP 0.1-200Hz N 50Hz | - | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | FALSE | FALSE | SSVEP | 12 | 0.4 | Chsh Filterbank 1-92Hz (step: 11Hz) DS @ 250Hz | Channels: Fz, Cz, Pz, PO7, PO8, O1, O2, and Oz | TRCA (Ensemble Task-Related Component Analysis) | 75.37 | - | P300 | 9 | 0.4 | Chsh Filterbank 1-92Hz (step: 11Hz) DS @ 250Hz | Channels: Fz, Cz, Pz, PO7, PO8, O1, O2, and Oz | TRCA (Ensemble Task-Related Component Analysis) | 91.85 | - | Target Selection | 108 | 2 | Speller | 81.67 | 172.46 | - | In this experiment, a 108-character speller was developed. P300 and SSVEP were generated simultaneously using 12 sub-spellers of 3x3 symbols. Each sub-speller had a defined frquency and phase that would be shown for 200ms at each character following a sinusoidal wave (thus generating an ERP and SSEP stimuli simultaneously). Many filters, features and classifiers were experimented in offline sessions. The best combination was the one reported, using a filterbank, downsampling and TRCA classifier. P300 and SSVEP features were extracted using a combination of P300 channels and SSVEP channels. The final result refers to the final target selection (i.e., the combination of sub-speller and sub-speller character selection).
36 | Xu et al. | A visual parallel-BCI speller based on the time–frequency coding strategy | 2014 | 11 | 1 | 1 | 23 to 36 | - | NuAmps | BP 0.1-100Hz (hardware) 3rd Butt BP 1-72Hz DS @ 200Hz | - | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP,ERP | Visual | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | SSVEP | 4 | 0.9 | 3rd Butt BP 6-72Hz | - | CCA | - | 95.7 | P300 | 4 | 0.8 | 3rd Butt BP 1-10Hz DS @ 40Hz | - | SWLDA | - | 96.8 | Target Selection | 36 | 2 | Speller | 93.9 | 43 | - | Trigger synch done with an FPGA. Online testes contained 5 rounds for test 1 and 3 rounds for test 2. SSVEP yielded the sub-speller and P300 the character index within the sub-speller
2 | Yang et al. | A Bipolar-Channel Hybrid Brain-Computer Interface System for Home Automation Control Utilizing Steady-State Visually Evoked Potential and Eye-Blink Signals | 2020 | 3 | 1 | 1 | 24 | - | Cognionics | BP 1-50Hz | MatLab | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | SSEP | Visual | Sequential | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | SSVEP | 6 | 2 | IIR BP 5-30Hz | STFT | CNN | 96.92 | 89.5833 | Eye Task | 2 | 2 | IIR BP 5-30Hz | STFT | CNN | 96.92 | 90.625 | Target Selection | 38 | 2 | Home automation | - | 146.67 | - | There is no Hybrid Online Classification. Both SSVEP and Eye-Blink were classified by the same CNN. Both were collected via EEG.
34 | Yang et al. | A Synchronized Hybrid Brain-Computer Interface System for Simultaneous Detection and Classification of Fusion EEG Signals | 2020 | 6 | 1 | 1 | 23 to 38 | - | Cognionics | BP 1-50HZ | MatLab | FALSE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | SSEP,SMR | Visual,Operant | Simultaneous | Synchronous | Same subject calibration | TRUE | FALSE | FALSE | FALSE | FALSE | MI | 2 | 5 | BP 5-25Hz FastICA | WT (wavelet transform) | CNN | 91.73 | - | SSVEP | 4 | 5 | BP 5-25Hz FastICA | WT (wavelet transform) | CNN | 94.17 | - | MI tasks | 10 | 2 | Nothing | 95.53 | - | - | The system used only 2 electrodes (C3, C4) and only reported offiline performance. Results were also generated using other classifiers like CCA and LASSO for the SSVEP and SVM for the MI. CNN had the best results. All pre-processing and filtering was the same for both MI and SSVEP as there were only two electrodes.
56 | Yao et al. | Combining Motor Imagery With Selective Sensation Toward a Hybrid-Modality BCI | 2014 | 11 | 1 | 1 | 25 | - | SynAmps2 | BP 0.5-70Hz N 50Hz | - | FALSE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning | SMR | Operant | Simultaneous | Synchronous | Same subject calibration | FALSE | FALSE | TRUE | FALSE | FALSE | MI | 2 | 3 | 4th Butt BP 8-26Hz | CSP | LDA | 71.9 | - | SS | 2 | 3 | 4th Butt BP 8-26Hz | CSP | LDA | 72.6 | - | MI task + SS | 4 | 1 | Nothing | 83.1 | - | - | System measured MI and SS in an offline session. All the electrodes went through the same filtering, feature extraction and classifier. A single LDA classified all signals and the hybrid system is defined as the decoder of R-MI and L-SS. The other combinations had a lesser result.
33 | Yao et al. | A Stimulus-Independent Hybrid BCI Based on Motor Imagery and Somatosensory Attentional Orientation | 2017 | 16 | 1 | 1 | 22.1 to 26.7 | - | SynAmps2 | BP 0.5-70Hz N 50Hz | EEGLAB | FALSE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning | SMR | Operant | Sequential | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | FALSE | FALSE | MI | 2 | 4 | Spatial-spectral-temporal 200ms hanning taper convoluted with modified sinusoid | CSP (spatially) | LDA | 78.4 | - | SAO | 2 | 4 | Spatial-spectral-temporal 200ms hanning taper convoluted with modified sinusoid | CSP (spatially) | LDA | 78.9 | - | MI tasks | 4 | 1 | Nothing | 86.1 | - | - | For each participant, the combination with the highest combination of MI and SAO was chosen to combpose the Hybrid modality. All Hybrids were either L-MI + R-SAO or R-MI + L-SAO (<most cases).
38 | Yu et al. | An Asynchronous Hybrid Spelling Approach Based on EEG–EOG Signals for Chinese Character Input | 2019 | 18 | 1 | 1 | 22 to 32 | - | BrainAmp | N 50Hz | BCI2000 | TRUE | TRUE | Homogeneous | Single-Brain Approach | Selective Attention | ERP | Visual | Sequential | Synchronous | Same subject calibration | FALSE | FALSE | FALSE | TRUE | FALSE | P300 | 25 | 0.8 | BP 0.1-45Hz DS @ 25Hz | - | SWLDA | - | 88.5 | Eye Task | 2 | 1.2 | 5th Chsh DS @ 40Hz BP 0.1-30Hz | - | Threshold detection | - | - | Target Selection | 28 | 2 | Speller | 93.6 | 43.8 | - | Speller for chinese symbols. After first letter was selected with P300, symbols were displayed. They could be selected with EOG (double blink) for fast spelling.
132 | Yu et al. | Self-Paced Operation of a Wheelchair Based on a Hybrid Brain-Computer Interface Combining Motor Imagery and P300 Potential | 2017 | 8 | 1 | 1 | 23 to 32 | - | BrainAmp | N 50Hz | BCI2000 | TRUE | TRUE | Homogeneous | Single-Brain Approach | Operant Conditioning,Selective Attention | ERP,SMR | Visual,Operant | Sequential | Asynchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | MI | 2 | 2.5 | BP 8-30Hz | Multi-CSP | LDA | 86.65* (RT: 2.03* s) | - | P300 | 10 | 0.8 | BP 0.1-40Hz | DS @ 25Hz | SWLDA | 92.6 (RT: 3s) | - | Target Selection + Mental Task | 12 | 1 | Drone/Vehicle/Wheelchair | - | - | - | System uses P300 and MI. P300 is used to choose movements and MI is used to change acceleration. MI and P300 also turn the system on and off. Each paradigm had its own results due to non-simultaneity of the system. In static state, only MI can be activated. To bring the wheelchair from idle to control state, a sequential left-right MI is performed. To bring the wheelchair from control to idle state, the stop button is selected via P300. Although two online experiment were perfomed, no valid results could be extracted from them, therefore only the offline part will be considered.
41 | Zhang et al. | An EEG/EMG/EOG-Based Multimodal Human-Machine Interface to Real-Time Control of a Soft Robot Hand | 2019 | 6 | 1 | 1 | 23 to 26 | - | NuAmps | N 50Hz | MatLab,Cpp | TRUE | FALSE | Heterogeneous | Multi-Physiological | Operant Conditioning | SMR | Operant | Sequential | Synchronous,Asynchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | Eye Task | 3 | 2 | FIR BP 0.05-45Hz 4th Daubchies WT | - | Dual threshold method | - | 94.23 | MI | 2 | 2 | FIR BP 0.05-45Hz | ERS/ERD | SVM | - | 91.46 | MI tasks + Eyes movement + Hand movement | 11 | 4 | Robot/Robotic Hand | 93.83 | 47.41 | - | The system consisted of three modes: EOG, EEG and EMG. EEG and EOG were collected with the same amp. EMG was caputred by a different amp and was processed via MYO API (black box?). EOG had 3 commands, EEG 2 and EMG 6. EEG operates in synchronous fashion and EOG and EMG in asynchronous fashion. Study did not specifically mention how many electrodes were used for EOG.
12 | Zhou et al. | A Hybrid Asynchronous Brain-Computer Interface Combining SSVEP and EOG Signals | 2020 | 10 | 1 | 1 | 21 to 27 | - | SynAmps2 | - | MatLab | TRUE | TRUE | Heterogeneous | Multi-Physiological | Selective Attention | SSEP | Visual | Simultaneous | Asynchronous | Same subject calibration | TRUE | FALSE | FALSE | TRUE | FALSE | SSVEP | 12 | 1.28 | 11th Butt BP 6-70Hz | 3 subband harmonics IIR BP FBCCA | CCA | - | 94.58 | Eye Task | 12 | 0.5 | 2nd Butt BP 1-10Hz | Waveform detection or Candidate selection | SVM | - | - | Target Selection | 12 | 2 | Speller | 95.42 | 105.53 | - | System uses SSVEP and EOG. EOG captures rapid blinking and SSVEP captures frequency and phase through the FBCCA method. Blinking was done on the first epoch of identification of a character. In case SSVEP didn't match the blinking, another epoch was recorded without the blinking (just staring at the screen)